| MID-DAKOTA RURAL WATER SYSTEM, INC. Miller, South Dakota Rules and Regulations |  | OPERATIONS AND PROCEDURES Policy Bulletin (PB) Series: 300 Bulletin No. : 04 |
| --- | --- | --- |

PB 304

TEMPORARY SERVICE:

PURPOSE

This policy establishes the Corporations policy and procedures relating to applications for temporary service for construction or other purposes.

TERMS OF POLICY

- Temporary Service is service approved and supplied by the Corporation which lasts ninety (90) days or less.  The Corporation may in its sole and exclusive discretion allow service to continue beyond the ninety (90) day limitation. The Corporation may extend temporary service through standard facilities and equipment, or if deemed appropriate, through system appurtenances such as  hydrants or clean-outs.

- The Corporation may supply service for temporary purposes, provided the Corporation, in its sole and exclusive discretion, determines it has water available in excess of regular needs, and provided the Corporation has available material and equipment necessary to supply temporary service.  The applicant must provide proper protection for the Corporation’s facilities, including but not limited to backflow or siphon prevention devices for any situation or water use that would suggest or require the wise application of said device.  Where backflows or siphon is a concern, the Corporation reserves the right to require a physical break between the water system and the Applicant’s attachment.   The Applicant will at all times comply with applicable laws, including the South Dakota Plumbing Code.  The Corporation may discontinue service at any time if it determines in its sole and exclusive discretion that the quality of service and/or the water supply to any of its customers is affected in a manner and to a degree that is unacceptable to the Corporation.  Each Applicant for temporary service must pay in advance to the Corporation the estimated cost of labor and materials, less salvage value on removal, for installing and cost of removing such service at the rates established by the Corporation for the classification of use.

- The Corporation may in its sole and exclusive discretion install a flow-rate control device and a meter at the point of diversion for the temporary service.  The flow-rate control device will be set for an agreed-upon maximum rate of flow.

- The rates and charges for temporary service are as follows:

- Service Call Charge: As provided in Policy Bulletin 207 (Charges for Services).

- Water Charge: shall be the same rate per thousand gallons as that charged for the first tier of the rate tariff for a Residential  Tapas provided in Policy Bulletin 202 (Water Rates).

CROSS REFERENCE(S)

PB 202, Water Rates

PB 207, Charges for Services

| Date Initially Adopted: | 01/04/1993 | Amended / Revised: | 03/14/2006 06/10/2008 08/08/2017 |
| --- | --- | --- | --- |

ADOPTED:

By: ____________________________________________

Chairperson of the Board

(Corporate Seal)

ATTEST:

By: ____________________________________________

Title: ____________________________________