| MID-DAKOTA RURAL WATER SYSTEM, INC. Miller, South Dakota Rules and Regulations |  | OPERATIONS AND PROCEDURES Policy Bulletin (PB) Series: 300 Bulletin No. : 316 |
| --- | --- | --- |

PB 316

INSTALLATION OF YARD HYDRANTS AT RURAL HOUSEHOLD HOOK-UPS:

PURPOSE

This policy establishes the terms and conditions under which the Corporation will install yard hydrants.

TERMS OF POLICY

A.	 In order for a yard hydrant to be installed at a rural household location, the following conditions must be met:

- The User agrees to pay all associated costs of the yard hydrant installation to the Corporation.

- The hydrant shall be installed in a location which is accessible to the type of equipment the contractor has on site and which is approved by the Corporation’s personnel.

- No additional underground utility crossings are required to install the yard hydrant.

- The location is within 25 feet of the service line, between the meter pit and the dwelling.

- An approved atmospheric vacuum breaker must be installed on all yard hydrants installed by the Corporation or its contractor and that the User will pay the cost of the vacuum breaker to be supplied by the Corporation and/or the Corporation’s Contractor. It is further understood that if additional measures to provide adequate protection from “cross connection” is recommended or required, to be in compliance with National and State Standard Plumbing Codes, the User will be responsible for any corrective measures needed.

- Once installed, the yard hydrant becomes the property of the User and he/she assumes ALL responsibility and liability for the hydrant.

B.	Nothing in this policy bulletin shall be construed as a requirement that the Corporation provide or facilitate the installation of yard hydrants.  The Corporation, at its sole and exclusive discretion, may approve or deny the installation of yard hydrants.

CROSS REFERENCE(S)

| Date Initially Adopted: | 05/12/98 | Amended / Revised: | 08/12/2008 |
| --- | --- | --- | --- |

ADOPTED:

By: ____________________________________________

Chairperson of the Board

(Corporate Seal)

ATTEST:

By: ____________________________________________

Title: ____________________________________