	MID-DAKOTA RURAL WATER SYSTEM, INC.

Miller, South Dakota

Rules and Regulations 


	
	GENERAL

Policy Bulletin  (PB) Series: 100 

Bulletin No. : 12




PB 112
WATER USER RESPONSIBILITIES:

PURPOSE
To establish the User’s rights and responsibilities when receiving service from the Corporation.
TERMS OF POLICY

A.
The water User shall provide a suitable place for a frost free pit for a meter placed on the water User's premises; it shall be unobstructed and accessible at all times for reading.

B. For Residential and Rural Household water use hookups, the water User shall be responsible for connecting the water User’s private system at the Water User Connection Point provided by the Corporation.  The water User shall install and maintain a temperature/pressure relief valve or an approved expansion tank on the water User’s  water heater.    The water User shall not operate or adjust the Corporation’s pressure regulator adjustment which will generally provide 45 psi or less at the Water User Connection Point.  The water User shall be responsible for the water User’s own plumbing and connection made to the Corporation’s system and shall comply with the State of South Dakota's Plumbing Code requirements.  The Corporation recommends that the User's connection be made with a physical break between the water User’s  existing water source and the Corporation’s system; if  both are connected at the same time, the User shall install a “reduced-pressure principle backflow-prevention assembly” (RPZ) that is approved for this purpose by the South Dakota State Plumbing Commission.   All costs and responsibilities associated with the purchase, installation, operation, maintenance, testing and replacement shall be the responsibility of the water User. 

C.
For all classifications of water user hookups, the water User is responsible for the service line after the Corporation’s meter pit once the original installation contract warranty period has expired (4 years from the original contract substantial completion date).  In the case of pipelines that have or may have high maintenance cost (slide areas, low water use, high water table, etc.), the Corporation reserves the right to refuse or discontinue water service to proposed or existing lines.

D. For Livestock water user hookups, the water User shall be responsible for connecting the water User’s private system at the Water User Connection Point.  Frost-free hydrants shall not be installed within 15 feet from the meter pit.  The water User shall be responsible for the water User’s  own plumbing and connections made to the Corporation’s system and shall comply with the State of South Dakota's Plumbing Code requirements.  The Corporation recommends that the User’s connection be made with a physical break between the water User’s  existing water source and the Corporation’s system; if both are connected at the same time, the User shall install a “reduced-pressure principle backflow-prevention assembly” (RPZ) that is approved for this purpose by the South Dakota State Plumbing Commission.   All costs and responsibilities associated with the purchase, installation, operation, maintenance, testing and replacement shall be the responsibility of the water User.
E. For all water user hookups, the water User shall be responsible for “winterizing” the water User’s  private system from the Water User Connection Point.  In the event that the User requests the hook-up be shut off or turned on at a time other than one scheduled by Corporation, the User will be charged the appropriate “disconnect”/ “reconnect” fee(s) as established by Policy Bulletin 204.

 F.
For all classifications of water user hookups, except Special Bulk, the water User shall be responsible for protecting the Corporation's meter assembly from freezing regardless of where or by whom installed.  The same is true of the Service Line on the water User's property. The water User shall pay for the cost of repair, water loss, and any other damage incurred because of freezing of any of the items stated in this paragraph.

G.
Water Users shall not hook the Water User Connection Point to the Service Line until they have been notified in writing to do so by the Corporation.  Initial water Users shall be responsible for locating the private buried utilities within their yard area for the Corporation's Service Line contractor.  In the event such utilities are disrupted due to inaccurate location (greater than plus or minus 2 foot variation); the water User will be responsible to pay the Corporation for the cost of repairing said utility.

H.
If the water User's piping on the water User's premises is so arranged that the Corporation is called upon to provide additional meters, each place of metering will be considered as a separate and individual water user hookup.

I.
The water User's private piping and apparatus shall be installed and maintained by the water User, and at the water User's expense, in a safe and efficient manner and in accordance with the Corporation's rules and regulations and in full compliance with the sanitary regulations of the South Dakota Department of Agriculture and  Natural Resources and the South Dakota State Plumbing Commission.  The water User's private piping shall be installed in such a manner as to prevent cross-connection or backflow and be approved for that purpose by the South Dakota State Plumbing Commission. 

J.
The water User shall guarantee proper protection for the Corporation's property placed on the water User's premises and shall permit access to it only by authorized representatives of the Corporation. The water meter or flow control must be unobstructed and accessible for inspection at all times.

K.
In the event of any loss or damage to property of the Corporation or injury to Corporation employees resulting from the negligence or reckless or intentional conduct of the water User or the Water User’s agents or employees, the water User shall pay to the Corporation the resulting cost of necessary repairs or replacements of other damages incurred by the Corporation. The amount of such loss or damage or the cost of repairs shall be added to the water User's bill, and, if not paid, service may be discontinued by the Corporation.
L.
Water furnished by the Corporation shall be used according to the classification of the water User.  Water shall not be used for purposes other than those specified in the Water User Agreement or Water Purchase Contract.  Disregard for this rule is cause for refusal or discontinued service.

M.
No water User may sell, meter or otherwise provide water to another person or another person's property or extend service beyond the location described in his water application except in the following situations:

1.
Water may be piped to a location on the water User's property if the water is used by the water User, or the User’s family or  employees, or livestock on the User’s land.  The plumbing for this use may be underground.

2.
Water may be piped to a location off the water User’s property only for watering the water User's livestock.  The plumbing use for this must be above ground.

3.
Water may be piped to a location under circumstances not mentioned above only with the express written consent of the Corporation.

4.
Any water User desiring to extend water service shall make application to the Corporation describing the location of the extension, the type of installation proposed, use of the water, and the name of the owner of the land where the new use will occur.  The Corporation may make periodic inspections of the water extension, and the extension must be terminated if the Corporation determines that there has been a change of circumstances disqualifying the extension.

N.
In regard to livestock watering, the hydraulic design of the Corporation's water distribution system is based on livestock water being uniformly delivered throughout the 24-hour daily period.  Where large numbers of livestock are present, water Users are responsible for providing on-farm water storage and appurtenances to accomplish a reasonable distribution of livestock water on demand.  The water User may be required to provide a constant flow valve or other device acceptable to the Corporation.  Such device shall be installed at all principal livestock water places.

CROSS REFERENCE(S)

	
	
	
	

	Date Initially Adopted:
	12/14/1993
	Amended / Revised:
	08/13/1998

	
	
	
	03/19/2002

05/13/2003

	
	
	
	03/11/2008

03/10/2009

04/13/2021

03/10/2026

05/12/2026

	
	
	
	

	ADOPTED:


By: ____________________________________________

Chairperson of the Board

	(Corporate Seal)


	ATTEST:


By: ____________________________________________



Title: ____________________________________

