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PB 316 

INSTALLATION OF YARD HYDRANTS AT RURAL HOUSEHOLD HOOK-UPS:

PURPOSE

  This policy establishes the terms and conditions under which the Corporation will install yard hydrants.  
TERMS OF POLICY

A.
 In order for a yard hydrant to be installed at a rural household location, all the following conditions must be met:
1. The User agrees to pay all associated costs of the yard hydrant installation to the Corporation.

2. The hydrant shall be installed in a location which is accessible to the type of equipment the contractor has on site and which is approved by the Corporation’s personnel.

3. No additional underground utility crossings are required to install the yard hydrant.

4. The hydrant must be located between the meter pit and the dwelling and three feet or more from the meter pit.
5. An atmospheric vacuum breaker approved by the Corporation must be installed on all yard hydrants installed by the Corporation or its contractor and the User must pay the cost of the vacuum breaker to be supplied by the Corporation and/or the Corporation’s Contractor. If additional measures to provide adequate protection from “cross connection” is recommended or required to be in compliance with National and State Standard Plumbing Codes, the User will be responsible for the cost of any such measures. 
6. Once installed, the yard hydrant becomes the property of the User and the User assumes ALL responsibility and liability for the hydrant.

B.
Nothing in this policy bulletin shall be construed as a requirement that the Corporation provide or facilitate the installation of yard hydrants.  The Corporation, at its sole and exclusive discretion, may approve or deny the installation of yard hydrants.
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